# SurfaceBox [55]

Surface mounting box for one LightSwitch or Outlet device

| ### Compatibility | LightSwitch devices LightSwitch (1-gang) Jeweller LightSwitch (2-gang) Jeweller LightSwitch (2-way) Jeweller LightSwitch (2-gang/2-way) Jeweller LightSwitch (Crossover) Jeweller LightSwitch (Dimmer) Jeweller Outlet devices Outlet [type E] Jeweller Outlet [type F] Jeweller Outlet (basic) [type E] Outlet (basic) [type F] |
| --- | --- |
| ### Colors | White RAL 9003 |
| ### Key features | Color and shape matching The SurfaceBox [55] shape smoothly aligns with the LightSwitch touch-sensitive panel and Outlet cover. Easy installation Various fixing points to mount SurfaceBox [55] on any surface. Cable routing Dedicated spots to route the wires in SurfaceBox [55] from the back or side. Form factor of the LightSwitch or Outlet device European type (55) |
| ### Recommendations | The device is designed for indoor use only. A professional electrician should install the device. |
| ### Enclosure | Dimensions 82.6 × 82.6 × 46.8 mm 3.25" × 3.25" × 1.84" Weight 63.5 g 2.24 oz Material polycarbonate Operating temperature range from –10 °C to +40 °C from 14 °F to 104 °F Operating humidity up to 75% with no condensation Protection class IP20 |
| ### Complete set | SurfaceBox [55] 4 screws for LightSwitch or Outlet device mounting Quick start guide |
| Warranty | 24 months |